## Introduction
Energy savings form Alfa Laval
Dear Customer,
Today, we are faced with growing environmental concerns, increasing costs of energy and the need for reducing consumption of our natural resources.
Alfa Laval has vast experience in selected applications in heat recovery, savings in energy costs by offering the most efficient and correct heat transfer equipment.
Possible equipment generating waste heat are; cooling towers, air compressors, chillers, waste water and flash steam.
This list of equipment all produce waste heat which is possible to recover and save on your heating costs.
Alfa Laval and our partners are ready to help you with a solution unique to your needs.
An example of Europen average energy cost is 0.10 Euro per kWh. kWh)
Hence 1 year saving for 1 kWatt per 8 hrs a day, 20 days a month, 6 months a year is 96 euro/year (ie, per kW)
Recovering 100 kWatt is equivilent to 9,600 Euro annual savings based on the above !!!
Please contact your nearest Alfa Laval partner to help you on your journey to save energy and increase profitability.
Best Regards,
Alfa Laval

## 1. Cooling tower-tap water
Savings from cooling tower water heat recovery, used to pre heating tap water going to boiler
Please insert figures in the left hand side table, results are calculated on the right hand side.
|  | DATA INPUT |  |  | RESULTS OUTPUT
| Cooling tower water flowrate: | 5 | m³/hr | kcal/hr | 110000 | kCal/hr Energy savings
| Inlet temperature to heat exchanger: | 37 | °C | kWatt | 127.907 | kWatt
| Outlet temperature from heat exchanger: | 15 | °C
| Number of hours operation per day: | 8 |  |  | 102.3256 | Daily savings
| Number of days operation per month: | 20 |  |  | 2046.5116 | Monthly savings
| Number of months operation per year: | 3
| Cost of energy to generate 1 kWhr: | 0.1 | Euro
[5 empty] | 6139.5349 | One year savings
| Investment price of Alfa Laval heat exchanger: | 5000
| Investment installation piping costs: | 2000
| Investment other equipment: | 3000 |  |  | 10000 | Investment total
| Tap water inlet temperature: | 20 | °C | Months | 4.8864 | Pay back period
| Tap water outlet (2°C approach to hot side): | 35 | °C |  | 7.3333 | m³/hr
Heat source
Investment costs
Hours of operation
Pay back period
Note on F11: Ismail Uzman: Cooling Towers run 29/35 under 6 months in the year depending on region
Note on F16: Ismail Uzman: Sales price available from Alfa Laval

## 2. Compressor-tap or space heat
Savings from cooling tower water heat recovery, used to pre heating tap water going to boiler
Please insert figures in the left hand side table, results are calculated on the right hand side.
| DATA |  |  | RESULTS
Hot water flowrate: | 5.6 | m³/hr | kcal/hr | 61600 | Energy savings in kCal/hr (or kW below)
Inlet temperature to heat exchanger: | 71 | °C | kWatt | 71.6279 | Energy savings in kWatt
Outlet temperature from heat exchanger: | 60 | °C
Number of hours operation per day: | 24 |  | Euro | 257.8605 | Daily savings
Number of days operation per month: | 20 |  | Euro | 5157.2093 | Monthly savings
Number of months operation per year: | 12
Cost of energy to generate 1 kWhr: | 0.15 | Euro | Euro | 61886.5116 | Annual savings
Investment price of Alfa Laval heat exchanger: | 4000 |  | Euro | 8000 | Investment total
Investment installation piping costs: | 2000
Investment other equipment: | 2000 |  | Months | 1.5512 | Pay back period, return on investment
Note on C11: Ismail Uzman: Cooling Towers run 29/35 under 6 months in the year depending on region
Note on C15: Ismail Uzman: Sales price available from Alfa Laval

## 3. Waste water
Savings from waste water
Please insert figures in the left hand side table, results are calculated on the right hand side.
|  | DATA |  |  | RESULTS
| Hot water flowrate: | 20 | m³/hr | kcal/hr | 400000 | Energy savings in kCal/hr (or kW below)
| Inlet temperature to heat exchanger: | 60 | °C | kWatt | 465.1163 | Energy savings in kWatt
| Outlet temperature from heat exchanger: | 40 | °C
| Number of hours operation per day: | 24 |  | Euro | 1116.2791 | Daily savings
| Number of days operation per month: | 30 |  | Euro | 33488.3721 | Monthly savings
| Number of months operation per year: | 12
|  |  |  | Euro | 401860.4651 | Annual savings
| Cost of energy to generate 1 kWhr: | 0.1 | Euro
| Investment price of Alfa Laval heat exchanger: | 30000
| Investment installation piping costs: | 10000
| Investment other equipment: | 10000 |  |  | 50000 | Investment total
|  |  |  | Months | 1.4931 | Pay back period, return on investment
Heat source
Investment costs
Hours of operation
Pay back period
Note on F10: Ismail Uzman: Cooling Towers run 29/35 under 6 months in the year depending on region
Note on F14: Ismail Uzman: Sales price available from Alfa Laval